Water Quality Report 2024

Village of Jerome

This Annual Water Quality Report is intended to provide you with important information about your drinking water and the efforts made by the Jerome water system to provide you with safe drinking water.  The data contained in this report is for the period of January 1 to December 31, 2024.  Jerome Board of Trustee meetings are scheduled on the first and third Thursday of each month at 6:30 p.m. and are held at the Jerome Civic Center.  These meetings are open to the public and issues regarding water quality may be addressed at that time.  If you have any questions about this report contact David Wilken at 217-546-2203.

The source of drinking water used by JEROME is Purchased Surface Water.

The sources of drinking water (both tap water and bottled water) include rivers, lakes streams, ponds, reservoirs, springs, and wells.  As

water travels over the surface of the land or through the ground, it can dissolve naturally occurring minerals and radioactive material and can pick up substances resulting from the presence of animals or from human activity.  Contaminants that may be present in source water include:

* Microbial contaminants, such as viruses and bacteria, which can come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife;

*  Inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining or fanning;

*  Pesticides/herbicides, which can come from a variety of sources, such as agriculture, urban stormwater runoff, and residential uses;

*  Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production and can also come from gas stations, urban stormwater runoff and septic systems;

*  Radioactive contaminants, which can be naturally occurring or the result of oil and gas production and mining activities.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons—such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/ AIDS or other immune system disorders, some elderly, and infants—can be particularly at risk from infections. These people should seek advice about drinking water from their healthcare providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the USEPA's Safe Drinking Water Hotline (1-800-426-4791).

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA's Safe Drinking Water Hotline (1-800-426-4791).

In order to ensure that tap water is safe to drink, the EPA prescribes regulations that limit the amount of certain contaminants in water provided by public water systems. The Illinois Environmental Protection Agency (IEPA) administers the drinking water program in Illinois under rules adopted by the Illinois Pollution Control Board. These rules are identical in substance to those of the USEPA. The Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water, which must provide the same protection for public health.

.

This Water Quality Report includes tables that will give you a better picture of the drinking water contaminants Jerome tested for and detected during 2024.

Source Water Information

Source Water Name				      	Type of Water		Location

CC 01-Master Meter Iles		   FF IL1671200    TP01              SW		Iles at Owens Lane

CC 02-Master Meter Alberta	   FF IL1671200	  TP01             SW		Alberta at Park

CC 03-Master Meter Chatham Rd	   FF IL1671200     TP01             SW		Chatham Rd at Jerome Ave

Source Water Assessment

We want our valued customers to be informed about their water quality.  If you would like to learn more, please feel free to attend any of our regularly scheduled meetings.  The source water assessment for our supply has been compiled by the Illinois EPA.  If you would like a copy of this information, please stop by the Village office or contact our water operator at 217-546-2203.  To view a summary version of the completed Source Water Assessments, including: Importance of Source Water; Susceptibility to Contamination Determination; and documentation/recommendation of Source Water Protection Efforts, you may access the Illinois EPA website at http://www.epa.state.il.us/cgi-bin/wp/swap-fact-sheets.pl.

Source of Water: Springfield, Illinois.   EPA considers all surface water sources of community water supply to be susceptible to potential pollution problems; hence, the reason for mandatory treatment for all surface water supplies in Illinois.  Mandatory treatment includes coagulation, sedimentation, filtration, and disinfection.  Causes of pollution to the lake include nutrients, siltation, suspended solids, and organic enrichment.  Primary sources of pollution include agricultural runoff, land disposal (septic systems), and shoreline erosion.

Regulated Contaminants Detected

NONE

Definitions:

Action Level Goal (ALG):  The level of a contaminant in drinking water below which there is no known or expected risk to health.

ALGs allow for a margin of safety.

Action Level (AL):  The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water

system must follow.

Water Quality Test Results

Maximum Contaminant Level Goal or MCLG:

The Level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow

for a margin of safety.

Maximum Contaminant Level or MCL:

The highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible

using the best available treatment technology.

Maximum residual disinfectant level goal or MRDLG:

The level of drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not

reflect the benefits of the use of disinfectants to control microbial contaminants.

Maximum residual disinfectant level or MRDL:

The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant

is necessary for control of microbial contaminants.

Definitions:	The following tables contain scientific terms and measures, some of which may require explanation.

Avg:	regulatory compliance with some MCLs are based on running annual average of monthly samples.

Level 1 Assessment:  A Level 1 assessment is a study of the water system to identify potential problems and

determine (if possible) why total coliform bacteria have been found in our water system.

Level 2 Assessment:  A Level 2 assessment is a very detailed study of the water system to identify potential

problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total

coliform bacteria have been found in our water system on multiple occasions.

ppb	micrograms per liter or parts per billion – or one ounce in 7,350,000 gallons of water.

na:	not applicable.

ppm:	milligrams per liter or parts per million – or one ounce in 7,350 gallons of water.

mrem:	millirems  per year (a measure of radiation absorbed in the body)

Regulated Contaminants

| Disinfectants and Disinfec- tion By-Products | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chloramines | 2024 | 2.2 | 2-2.4 | MRDLG=4 | MRDL=4 | ppm | N | Water additive used to control microbes. |
| Haloacetic Acids HAAS | 2024 | 21 | 13.7-29 | No goal for the total | 60 | ppb | N | By-product of drinking water Disinfectant. |

| Total Trihalo- methanes (TTHM) | 2024 | 42 | 27.1-51.5 | No goal for the total | 80 | ppb | N | By-product of drinking water Disinfectant. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

DATA TABLE FOOTNOTES

Lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. The Village of Jerome is responsible for providing high quality drinking water and removing lead pipes, but cannot control the variety of materials used in plumbing components in your home. You share the responsibility for protecting yourself and your family from the lead in your home plumbing. You can take responsibility by identifying and removing lead materials within your home plumbing and taking steps to reduce your family's risk. Before drinking tap water, ﬂush your pipes for several minutes by running your tap, taking a shower, doing laundry or a load of dishes. You can also use a ﬁlter certiﬁed by an American National Standards Institute accredited certiﬁer to reduce lead in drinking water. If you are concerned about lead in your water, you may wish to have your water tested, contact David Wilken at 217-546-2203. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at http://www.epa.gov/safewater/lead.

Our Community Water Supply has developed a service line material inventory.  To obtain a copy of the system’s service line inventory: Go to https://villageofjerome.com/documents/2024-village-of-jerome-lead-service-line-inventory-and-replacement-plan/

To obtain a copy of the system’s lead tap sampling data: Go to

https://iepasdwis.illinois.gov/dww/JSP/AnalyteList.jsp?tinwsys_is_number=717829&tinwsys_st_code=IL

VIOLATIONS TABLE

Chloramines

Some people who drink water containing chloramines well in excess of the MRDL could experience irritating effects to their eyes and nose.  Some people who drink water containing chloramines well in excess of the MRDL could experience stomach discomfort or anemia.

Monitoring, Routine (DBP), Major    11/01/2024  11/30/2024

Violation explanation: We failed to test our drinking water for the contaminant and period indicated.    Because of this this failure, we cannot be sure of the quality of our drinking water during the period indicated.

Revised Total Coliform Rule ( RTCR)

Monitoring, Routine, Minor (RTCR)   11/01/2024    11/30/2024

The Revised Total Coliform rule (RTCR) seeks to prevent waterborne diseases caused by E. Coli .  E. Coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes.  Human Pathogens in these wastes can cause short – term effects, such as diarrhea, cramps, nausea, and headaches.   SEE ATTACHED PUBLIC NOTICE

If you have questions about this report or your water system,

please contact the Water Dept. at (217) 546-2203

E-Mail:  waterclerk@villageofjerome.com

prepared by the

VILLAGE OF JEROME

Water Department

SEE FOLLOWING PAGES FOR 2024 WATER QUALITY

INFORMATION FOR THE CITY OF SPRINGFIELD